## Sheet1
Experiment for generating Graphs with proper GPS
SNO | Value for Through | Value for Delay Line | Delay(samples) | Delay(ns) | Error(from true value 13600ns) (ns) | Resolution of system(ns) | Sample Rate | no of values | Test no | Notes | Typical Measurement going from Through to Delay Line | Notes | Put this in Thesis to show how a typical range measurement looks
1 | 179825 | 179798/179797 | 27/28 | 13500/14000 | 100/400 | 500 | 2000000 | 14 | 21 | Outlier | 32 | Due to Bleed
2 | 187450 | 187423 | 27 | 13500 | 100 | 500 | 2000000 | 10 | 22 | Bias is 50 samples from signal zero which is (187500), just a result of the signals being plugged in a specfic order | 27 | Correct
3 | 187450 | 187423 | 27 | 13500 | 100 | 500 | 2000000 | 10 | 23 |  | 27
4 | 187450 | 187423 | 27 | 13500 | 100 | 500 | 2000000 | 9 | 24 |  | 27
5 | 187450 | 187423 | 27 | 13500 | 100 | 500 | 2000000 | 9 | 25 |  | 27
27
27
Without GPS Lock | [10 empty] | 27
1 | 134280 | [9 empty] | 27
27
27
[11 empty] | 3 | Algo Baseline Reset at Signal Bleed measurement, should resolve when correcting algorithm.
3
3
[11 empty] | 3 |  | We missed the good measurements, these above correct measurements are at higher SNRS because they measure bleeding signal
[11 empty] | Typical Measurement going from Delay Line to through | Notes
[11 empty] | 3 | Algo Baseline Reset at Signal Bleed measurement, should resolve when correcting algorithm. | No AGC Issue Seen
28
[11 empty] | 27 | Correct
27
27
27
27
27
27
27
27
27